|  |  |
| --- | --- |
|  | **Standard Operating Procedure****Collection of Serum from Whole Blood** |
|  | Version 1.0 | Effective Date: | Page 1 of 2 |

1.0 Purpose

 This document describes the process for the collection of human serum from whole blood.

2.0 Scope

These guidelines apply to personnel intending to preserve serum biobanking studies

3.0 Requirements:

 3.1. Equipment:

 3.1.1 Centrifuge with swinging bucket rotor

 3.1.2 -80°C Freezer

 3.1.3 Biosafety Cabinet Hood

 3.1.4 Pipette Aid

 3.2. Materials:

 3.2.1 Cryovials (Nalgene/Nunc #368632 for ITN labs)

 3.2.2 15ml and 50ml Sterile, Polypropylene, Conical, Centrifuge Tubes

 3.2.3 Sterile pipets

3.2.4 Sterile cryovials

4.0 Method:

4.1 Filled red top blood collection tubes should sit uprights after the blood is drawn at room temperature for a minimum of 30 to a maximum of 60 minutes to allow the clot to form. (Note: the red top tubes do not need to be full.) These tubes, without additives allow the red blood cells to form a clot that includes white blood cells, platelets etc.

4.2 Centrifuge the blood sample at the end of the clotting time (30-60 minutes) in a horizontal rotor for 20 minutes at 1300g at room temperature. If the blood is not centrifuged immediately after the clotting time, the tubes should be refrigerated for no longer than 4 hours.

4.3 Use pipette to transfer the serum into labeled cryovials. Aliquot 100-250µl serum into cryovials. This process should be completed within 1 hour of centrifugation. (Note: Be very careful not to pick up red blood cells when aliquoting. This can be done by keeping the pipet above the red blood cell layer and leaving a small amount of serum in the tube).

4.4 Place all aliquots upright in a specimen box or rack in -80°C or colder freezer. All specimens should remain at -80°C or colder.

Record

1. Hemolysis of the serum occurred

2. Date and time of blood collection

3. Number and volume of aliquots prepared

4. Date and time into -80°C

5. Date and time of shipping

6. Any freeze-thaw that occurs with a sample for any reason

7. Any variations or deviations from the SOP, problems, or issues